## DiscreteAlarms
1 | 1 | F ¦ Spare | Errors | wHMI_Fault1 | 0
2 | 2 | F ¦ Emergency push button external ¦ 513S1ESTOP2 | Errors | wHMI_Fault1 | 1
3 | 3 | F ¦ Insulation Control Device C-BESSHD1 Alarm ¦ | Errors | wHMI_Fault1 | 2
4 | 4 | F ¦ Surge suppressor trip ¦ 001F1 | Errors | wHMI_Fault1 | 3
5 | 5 | F ¦ Main circuit breaker ¦ 003F2 | Errors | wHMI_Fault1 | 4
6 | 6 | F ¦ Spare | Errors | wHMI_Fault1 | 5
7 | 7 | F ¦ Spare | Errors | wHMI_Fault1 | 6
8 | 8 | F ¦ Power supply 24Vdc Communication Equipment ¦ 301F1 | Errors | wHMI_Fault1 | 7
9 | 9 | F ¦ Power supply 24Vdc Safety PLC cards ¦ 301F2 | Errors | wHMI_Fault1 | 8
10 | 10 | F ¦ Spare | Errors | wHMI_Fault1 | 9
11 | 11 | F ¦ PCS 1 door open ¦ 527S1 | Errors | wHMI_Fault1 | 10
12 | 12 | F ¦ PCS 2 door open ¦ 527S2 | Errors | wHMI_Fault1 | 11
13 | 13 | F ¦ Back AC door open PCS1 ¦ 527S3 | Errors | wHMI_Fault1 | 12
14 | 14 | F ¦ Back AC door open PCS1 ¦ 527S4 | Errors | wHMI_Fault1 | 13
15 | 15 | F ¦ Front Fan door open ¦ 527S6 | Errors | wHMI_Fault1 | 14
16 | 16 | F ¦ Emergency State ¦ | Errors | wHMI_Fault1 | 15
17 | 17 | F ¦ Master Profinet communication Error ¦ | Errors | wHMI_Fault2 | 0
18 | 18 | F ¦ Maximum Temperature Alarm PCS room¦ | Errors | wHMI_Fault2 | 1
19 | 19 | F ¦ Spare | Errors | wHMI_Fault2 | 2
20 | 20 | F ¦ Spare | Errors | wHMI_Fault2 | 3
21 | 21 | F ¦ Spare | Errors | wHMI_Fault2 | 4
22 | 22 | F ¦ Spare | Errors | wHMI_Fault2 | 5
23 | 23 | F ¦ Spare | Errors | wHMI_Fault2 | 6
24 | 24 | F ¦ Spare | Errors | wHMI_Fault2 | 7
25 | 25 | F ¦ Spare | Errors | wHMI_Fault2 | 8
26 | 26 | F ¦ Spare | Errors | wHMI_Fault2 | 9
27 | 27 | F ¦ Spare | Errors | wHMI_Fault2 | 10
28 | 28 | F ¦ Spare | Errors | wHMI_Fault2 | 11
29 | 29 | F ¦ Spare | Errors | wHMI_Fault2 | 12
30 | 30 | F ¦ Profisafe receive from Core Fault | Errors | wHMI_Fault2 | 13
31 | 31 | F ¦ Profisafe receive from EH05HD_1 Fault | Errors | wHMI_Fault2 | 14
32 | 32 | F ¦ Profisafe receive from EH05HD_2 Fault | Errors | wHMI_Fault2 | 15
33 | 33 | A ¦ Power supply C-BESSHD1 ¦ 013F2 | Errors | wHMI_Alarm1 | 0
34 | 34 | A ¦ Power supply C-BESSHD2 ¦ 013F3 | Errors | wHMI_Alarm1 | 1
35 | 35 | A ¦ Main circuit breaker UPS ¦ 101F2 | Errors | wHMI_Alarm1 | 2
36 | 36 | A ¦ Surge suppressor UPS trip ¦ 101F3 | Errors | wHMI_Alarm1 | 3
37 | 37 | A ¦ Power Supply UPS PS unit 1 24Vdc open ¦ 107F2+107T1 | Errors | wHMI_Alarm1 | 4
38 | 38 | A ¦ Power Supply UPS PS unit 2 24Vdc open ¦ 107F3+107T2 | Errors | wHMI_Alarm1 | 5
39 | 39 | A ¦ Power supply UPS C-BESSHD1 ¦ 107F4 | Errors | wHMI_Alarm1 | 6
40 | 40 | A ¦ Power supply UPS C-BESSHD2¦ 107F5 | Errors | wHMI_Alarm1 | 7
41 | 41 | A ¦ Spare | Errors | wHMI_Alarm1 | 8
42 | 42 | A ¦ Power supply 24Vdc digital PLC cards ¦ 301F3 | Errors | wHMI_Alarm1 | 9
43 | 43 | A ¦ Power supply 24Vdc analog PLC cards ¦ 301F4 | Errors | wHMI_Alarm1 | 10
44 | 44 | A ¦ Power supply 24Vdc PLC IO internal ¦ 301F5 | Errors | wHMI_Alarm1 | 11
45 | 45 | A ¦ Power supply 24Vdc PLC IO external ¦ 301F6 | Errors | wHMI_Alarm1 | 12
46 | 46 | A ¦ Power supply 24Vdc PCS Signals ¦ 301F7 | Errors | wHMI_Alarm1 | 13
47 | 47 | A ¦ Spare | Errors | wHMI_Alarm1 | 14
48 | 48 | A ¦ Spare | Errors | wHMI_Alarm1 | 15
49 | 49 | A ¦ Power supply fan 1 ¦ 011F1 | Errors | wHMI_Alarm2 | 0
50 | 50 | A ¦ Power supply fan 2 ¦ 011F2 | Errors | wHMI_Alarm2 | 1
51 | 51 | A ¦ Spare | Errors | wHMI_Alarm2 | 2
52 | 52 | A ¦ Spare | Errors | wHMI_Alarm2 | 3
53 | 53 | A ¦ Internal intake pressure switch ¦ | Errors | wHMI_Alarm2 | 4
54 | 54 | A ¦ External intake pressure switch ¦ | Errors | wHMI_Alarm2 | 5
55 | 55 | A ¦ Spare | Errors | wHMI_Alarm2 | 6
56 | 56 | A ¦ Spare | Errors | wHMI_Alarm2 | 7
57 | 57 | A ¦ Irresponsive fan 1 ¦ | Errors | wHMI_Alarm2 | 8
58 | 58 | A ¦ Irresponsive fan 2 ¦ | Errors | wHMI_Alarm2 | 9
59 | 59 | A ¦ Spare | Errors | wHMI_Alarm2 | 10
60 | 60 | A ¦ Spare | Errors | wHMI_Alarm2 | 11
61 | 61 | A ¦ Spare | Errors | wHMI_Alarm2 | 12
62 | 62 | A ¦ Spare | Errors | wHMI_Alarm2 | 13
63 | 63 | A ¦ Spare | Errors | wHMI_Alarm2 | 14
64 | 64 | A ¦ Spare | Errors | wHMI_Alarm2 | 15
65 | 65 | A ¦ EH05HD1 Profinet communication Error ¦ | Errors | wHMI_Alarm3 | 0
66 | 66 | A ¦ EH05HD2 Profinet communication Error ¦ | Errors | wHMI_Alarm3 | 1
67 | 67 | A ¦ Spare | Errors | wHMI_Alarm3 | 2
68 | 68 | A ¦ Spare | Errors | wHMI_Alarm3 | 3
69 | 69 | A ¦ CL1,C-BESSHD1 CAN communication Error ¦ | Errors | wHMI_Alarm3 | 4
70 | 70 | A ¦ CL2,C-BESSHD1 CAN communication Error ¦ | Errors | wHMI_Alarm3 | 5
71 | 71 | A ¦ CL1,C-BESSHD2 CAN communication Error ¦ | Errors | wHMI_Alarm3 | 6
72 | 72 | A ¦ CL2,C-BESSHD2 CAN communication Error ¦ | Errors | wHMI_Alarm3 | 7
73 | 73 | A ¦ State Machine 1 in Alarm ¦ | Errors | wHMI_Alarm3 | 8
74 | 74 | A ¦ State Machine 2 in Alarm ¦ | Errors | wHMI_Alarm3 | 9
75 | 75 | A ¦ State Machine 3 in Alarm ¦ | Errors | wHMI_Alarm3 | 10
76 | 76 | A ¦ State Machine 4 in Alarm ¦ | Errors | wHMI_Alarm3 | 11
77 | 77 | A ¦ Spare | Errors | wHMI_Alarm3 | 12
78 | 78 | A ¦ Spare | Errors | wHMI_Alarm3 | 13
79 | 79 | W ¦ Surge Suppressor C-BESSHD1 shot ¦ | Errors | wHMI_Alarm3 | 14
80 | 80 | W ¦ Surge Suppressor C-BESSHD2 shot ¦ | Errors | wHMI_Alarm3 | 15
81 | 81 | W ¦ C-BESSHD room sensor 1 high temperature ¦ 561B1 | Warnings | wHMI_Warning1 | 0
82 | 82 | W ¦ C-BESSHD room sensor 1 low temperature ¦ 561B1 | Warnings | wHMI_Warning1 | 1
83 | 83 | W ¦ C-BESSHD room sensor 1 temperature read fail ¦ 561B1 | Warnings | wHMI_Warning1 | 2
84 | 84 | W ¦ C-BESSHD room sensor 1 high humidity ¦ 561B1 | Warnings | wHMI_Warning1 | 3
85 | 85 | W ¦ C-BESSHD room sensor 1 low humidity ¦ 561B1 | Warnings | wHMI_Warning1 | 4
86 | 86 | W ¦ C-BESSHD room sensor 1 humidity read fail ¦ 561B1 | Warnings | wHMI_Warning1 | 5
87 | 87 | W ¦ C-BESSHD room sensor 2 high temperature ¦ 561B2 | Warnings | wHMI_Warning1 | 6
88 | 88 | W ¦ C-BESSHD room sensor 2 low temperature ¦ 561B2 | Warnings | wHMI_Warning1 | 7
89 | 89 | W ¦ C-BESSHD room sensor 2 temperature read fail ¦ 561B2 | Warnings | wHMI_Warning1 | 8
90 | 90 | W ¦ C-BESSHD room sensor 2 high humidity ¦ 561B2 | Warnings | wHMI_Warning1 | 9
91 | 91 | W ¦ C-BESSHD room sensor 2 low humidity ¦ 561B2 | Warnings | wHMI_Warning1 | 10
92 | 92 | W ¦ C-BESSHD room sensor 2 humidity read fail ¦ 561B2 | Warnings | wHMI_Warning1 | 11
93 | 93 | W ¦ Spare | Warnings | wHMI_Warning1 | 12
94 | 94 | W ¦ Spare | Warnings | wHMI_Warning1 | 13
95 | 95 | W ¦ Spare | Warnings | wHMI_Warning1 | 14
96 | 96 | W ¦ Spare | Warnings | wHMI_Warning1 | 15
97 | 97 | W ¦ Front PEMS door open ¦ 527S5 | Warnings | wHMI_Warning2 | 0
98 | 98 | W ¦ Insulation Control Device C-BESSHD1 Prewarning ¦ | Warnings | wHMI_Warning2 | 1
99 | 99 | W ¦ Spare | Warnings | wHMI_Warning2 | 2
100 | 100 | W ¦ Spare | Warnings | wHMI_Warning2 | 3
101 | 101 | W ¦ Spare | Warnings | wHMI_Warning2 | 4
102 | 102 | W ¦ Spare | Warnings | wHMI_Warning2 | 5
103 | 103 | W ¦ Spare | Warnings | wHMI_Warning2 | 6
104 | 104 | W ¦ Spare | Warnings | wHMI_Warning2 | 7
105 | 105 | W ¦ Spare | Warnings | wHMI_Warning2 | 8
106 | 106 | W ¦ Spare | Warnings | wHMI_Warning2 | 9
107 | 107 | W ¦ Spare | Warnings | wHMI_Warning2 | 10
108 | 108 | W ¦ Spare | Warnings | wHMI_Warning2 | 11
109 | 109 | W ¦ Spare | Warnings | wHMI_Warning2 | 12
110 | 110 | W ¦ Spare | Warnings | wHMI_Warning2 | 13
111 | 111 | W ¦ Spare | Warnings | wHMI_Warning2 | 14
112 | 112 | W ¦ Spare | Warnings | wHMI_Warning2 | 15
113 | 113 | W ¦ C-BESSHD1 CL1 Synch Warning ¦ | Warnings | wHMI_Warning3 | 0
114 | 114 | W ¦ C-BESSHD1 CL2 Synch Warning ¦ | Warnings | wHMI_Warning3 | 1
115 | 115 | W ¦ C-BESSHD2 CL1 Synch Warning ¦ | Warnings | wHMI_Warning3 | 2
116 | 116 | W ¦ C-BESSHD2 CL2 Synch Warning ¦ | Warnings | wHMI_Warning3 | 3
117 | 117 | W ¦ C-BESSHD Synch Warning: No Master¦ | Warnings | wHMI_Warning3 | 4
118 | 118 | W ¦ C-BESSHD Synch Warning: More than one Master¦ | Warnings | wHMI_Warning3 | 5
119 | 119 | W ¦ C-BESSHD Synch Warning: Slave Error¦ | Warnings | wHMI_Warning3 | 6
120 | 120 | W ¦ C-BESSHD Synch Warning: No Sync Active¦ | Warnings | wHMI_Warning3 | 7
121 | 121 | W ¦ Spare | Warnings | wHMI_Warning3 | 8
122 | 122 | W ¦ Spare | Warnings | wHMI_Warning3 | 9
123 | 123 | W ¦ Spare | Warnings | wHMI_Warning3 | 10
124 | 124 | W ¦ Spare | Warnings | wHMI_Warning3 | 11
125 | 125 | W ¦ Spare | Warnings | wHMI_Warning3 | 12
126 | 126 | W ¦ Spare | Warnings | wHMI_Warning3 | 13
127 | 127 | W ¦ Surge Suppressor C-BESSHD1 open ¦ | Warnings | wHMI_Warning3 | 14
128 | 128 | W ¦ Surge Suppressor C-BESSHD2 open ¦ | Warnings | wHMI_Warning3 | 15